WL-MIO
© 2020 VP Process Inc.(Widgetlords Electronics)

---
 Power Supply 5 VDC Module
Part No: VPE-6010
Field Supply
To Backplane
Backplane
Connections
Field Wiring
Terminations
Rshunt
1
2
TB4
Power Input 1
( + 24 VDC )
+V Field
3
+Vin1
+V
TB3
Common Field
+Vin
Current
+5 VDC Output
Power Input 2
( + 24 VDC )
6
TB2
5
Ideal Diode
+5.1 VDC Backplane
+Vin2
4
Rshunt
Power Supply
Output 5.1 VDC @ 4 Amp
Input: 9 to 36 VDC
Optional
+5 VDC
Output
9
TB1
Common Backplane
8
7
Backplane Common Enable
nc
12
nc
+5 VDC Current
11
+5 VDC
nc
10
+Vin1
+Vin2
CAN
Isolator
Driver
Controller
CAN Hi/Lo
A/D
+Vin Current
uP
ARM
Cortex-M
+5 VDC
Common Backplane
+5 VDC Current
Slot
Position
ID
Module ID
Low Three Bits
High Four Bits
Opto-
Backplane ID
Jumpers
Isolation 1K VDC

---
Raspberry Pi 4, RS-485, & HART Carrier Module
Part No: VPE-6020 & VPE-6020-H
Data A
RS485
Port
RS485
UART
Data B
HART I/O
Optional
HART
Modem
UART
Raspberry Pi
3B+, 4
40 Pin
GPIO Bus
Common
Optional
+5 VDC
Input
UART
Serial
Console
nc
Real
Time
Clock
c/w
CR2032
Battery
nc
I2C
Low 3
Bits
nc
Standard
I/O
On Rpi
Module
Ethernet
USB (x4)
JP2
Field
BP
5 VDC
JP1
COM ISO
Jumper
+5V

---
Relay Output 2 A SPDT Module
4 Channel
Part No: VPE-6030
Relay K1
SPDT
2A
K1
Feedback
Relay K2
SPDT
2A
K2
Feedback
Relay K3
SPDT
2A
K3
Feedback
Relay K4
SPDT
2A
K4
Feedback
DC/DC
5 VDC Power

---
Analog Input SDAFE mA & VDC Module 4 Channel
Part No: VPE-6040
Field Voltage
A1
SDAFE 1
COM
A2
SDAFE 2
ADC
4 Channel
15 Bit
SPI
A3
SDAFE 3
SDAFE 4
A4
SDAFE
Software Defined Analog Front End
0 – 20 mA
0 to 5 VDC
0 to 10 VDC

---
Analog Output 0-20 mA Module
4 Channel
Part No: VPE-6050
Field Voltage
A1
A2
DAC
4 Channel
12 Bit
I2C
A3
A4
Output
Sink or
Source
Control

---
Digital Input Discrete, Frequency, & Pulse Module 4 Channel
Part No: VPE-6060
Field Voltage
D1
D2
D3
D4
NPN or
PNP
Control

---
Analog Output 0-10 VDC Module
4 Channel
Part No: VPE-6070
Field Voltage
A1
A2
DAC
4 Channel
12 Bit
I2C
A3
A4

---
Thermistor NTC 10K Ω Module
8 Channel
Part No: VPE-6080
TH2
TH1
TH4
ADC
8 Channel
12 Bit
TH3
SPI
TH6
TH5
TH8
TH7

---
Thermocouple Module
6 Channel
Part No: VPE-6090
SPI
ADC 1
2 Channel
16 Bit
TC3+
TC2+
TC1+
CH1+
CH1 -
TC3-
Cold
Junction
Temp
TC2-
TC1-
CH2+
CH2 -
CH2+
CH2 -
TC6+
TC5+
SPI
ADC 2
2 Channel
16 Bit
TC4+
TC6-
CH1+
CH1 -
TC5-
Cold
Junction
Temp
TC4-
CH2+
CH2 -
SPI
ADC 3
2 Channel
16 Bit
CH1+
CH1 -
Cold
Junction
Temp
CH2+
CH2 -