## WL-MIO SPEC TABLE
Topic	Sub-Topic1	Characteristic (Sub-Topic2)	Values or Units	Component 1	Component 2	Component 3	Component 4	Component 5	Component 6	Component 7	Component 8	Component 9	Component 10	Component 11	Component 12
Ordering
		Part Name		Analog Input SDAFE mA &VDC Module 4 Channel	Digital Input Discrete, Frequency, & Pulse Module 4 Channel	Thermistor NTC 10K W Module 8 Channel	Analog Output 0-10 VDC Module 4 Channel	Analog Output 0-20 mA Module 4 Channel	Relay Output 2 A SPDT Module 4 Channel	Power Supply 5 VDC Module	Raspberry Pi 4 Model B	Raspberry Pi 4 & RS-485 Carrier Processor Kit	Raspberry Pi 4, RS-485, & HART Carrier Processor Kit	Raspberry Pi 4 & RS-485 Carrier Module	Raspberry Pi 4, RS-485, & HART Carrier Module
		Part Number		VPE-6040-B	VPE-6060-C	VPE-6080-A	VPE-6070-A	VPE-6050-B	VPE-6030-B	VPE-6010-C	VPE-RPi4-B_2mb	VPE-nnnnA	VPE-nnnnB	VPE-6020-C	VPE-6020-C-H

I/O
	I/O_Common	Channels	Channel Qty	4	4	8	4	4	4

	Input, Analog	Input Range (per channel)	mA/ VDC
	Input, Analog	Over-range limits	mA/ VDC
	Input, Analog	Max. Survivable Input	VDC / mA /A
	Input, Analog	Resolution	eg 4096 (12-bits)
	Input, Analog	Accuracy	± xx%
	Input, Analog	Input Voltage Drop nominal (Impedance ± xx%)
	Input, Analog	Sampling Rate	512 ms
	Input, Digital	Discrete Input Voltage	VDC
	Input, Digital	Discrete Turn On Characteristic	VDC / A
	Input, Digital	Discrete Turn Off Characteristic	VDC / A
	Input, Digital	Sampling Rate
	Input, Digital	Sampling Rate (Default)
	Input, Digital	Pulse Input Voltage
	Input, Digital	Pulse Width
	Input, Digital	Pulse Input Voltage (Default)
	Input, Digital	Pulse Width (Default)
	Input, Digital	Pulse Input Capacitance
	Input, Digital	Frequency Input Voltage (p-p) vs Hz	{Recommend table with Min / Max / selected V vs HZ)
	Input, Digital	Frequency Input (Default)

	Input, Temperature	Conduction Model				Negative Temperature Coefficient (NTC)
	Input, Temperature	Equation				b(beta) or B parameter (state equation )
	Input, Temperature	Sampling rate
	Input, Temperature	Resolution

	Output, Analog	Output Ranges
	Output, Analog	Resolution	eg 4096 (12-bits)
	Output, Analog	Accuracy	± xx% of span
	Output, Analog	Max Current or Voltage	mA
	Output, Analog	Output impedance	ohms
	Output, Analog	External current loop power range
	Output, Analog	Maximum current loop resistance	ohms

	Output, Relay
	Output, Relay	Line Voltage Range (nominal)	VDC or VAC
	Output, Relay	Line Voltage Range (max)	VDC or VAC
	Output, Relay	Current Rating	A
	Output, Relay	Surge Current	A
	Output, Relay	Recommended Max. Fuse (fast) or Circuit Breaker	A
	Output, Relay	Minimum Load	mA
	Output, Relay	Output Voltage Drop
	Output, Relay	Off-State Leakage
	Output, Relay	Peak Blocking Voltage
	Output, Relay	TPO Period (min, max, resolution)
	Output, Relay	Turn On Time
	Output, Relay	Turn Off Time

Processor
	Processor
	Processor Carrier

Power Supply

Field Connections
	I/O Common	Utilized BackPlane Terminal Qty
	I/O Common	Method	Screw, Push-in, Clamp
	I/O Common	Torque	N-m
	I/O Common	Cross section solid conductor min.	mm2
	I/O Common	Cross section solid conductor max.	mm2
	I/O Common	Cross section stranded conductor min.	mm2
	I/O Common	Cross section stranded conductor max.	mm2
	I/O Common	Cross section conductor AWG.
	I/O Common	Cross section conductor AWG.
	I/O Common	Stripping Length	mm

Physical
	Common	Length	mm
	Common	Width	mm
	Common	Height including DIN Mounts	mm
	Common	Weight	g
	Common	Weight, Shipping (Qty 1)	g

Electrical
	I/O Common	Input Voltage Range (WL-MIO BUS)	VDC or VAC
	Common	Current max.	mA or A
	Common	Current typical	mA or A
	Common	Power max	mW or W
	Common	Power Typical
	Module Common	BUS to Logic Isolation (working)	VDC
	Module Common	BUS to Logic Isolation (transient)	VDC
	Module Common	Field to Logic Isolation (working)	VDC or VAC
	Module Common	Field to Logic Isolation (transient)	VDC or VAC
Ambient
	Common	Operating Temperature
	Common	Storage Temperature
	Common	Operating Relative Humidity (non-condensing)	%
	Common	Storage Relative Humidity (non-condensing)	%
	Common	Protection	(e.g. IP20)

Standards	Common	ESD	IEC
	Common	Electro Magnetic Fields	IEC
	Common	Noise Rejection
	Common	Noise Emissions
	Common	Enviromental
	Common	Agency	CEC

Warranty	Common