WL-MIO’s Analog Output 0-20 mA module provides connection up to four channels of 0 – 22 mA programmable current loop. Each 16 bit channel is independently programmed to a specific current loop range that supports a mix of devices. Current sinking or sourcing is supported depending on the attached I/O devices or field power design. Current sinking is the module default. All four channels are connected to the single current bus that offers the choice of current sinking or sourcing.

Up to 126 Analog Output 0-20 mA modules (504 outputs) are supported with the scalable WL-MIO Process Controller system. When a mixture of other WL-MIO I/O modules are utilized in a control design, the Analog Output 0-20 mA module may be plugged into any WL-MIO Backplane position to accommodate existing or structured wiring designs. WL-MIO’s Analog Output 0-20 mA module is hot-swappable when upgrade or replacement is required.

Insert Picture of:

Analog Output 0-20 mA Module 4 Channel

**Additional Analog Output Module Information:**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| VPE-6050-B | Analog Output 0-20 mA Module 4 Channel | [Specs](https://wlmio.com/6050/index.html) | [Configuration](https://wlmio.com/configuration.html) | [Ordering](https://wlmio.com/index.html) |

{Author notes: There is no position for Ordering Information}